## Sheet1 (2)
System Monitor frame structure
data example
,PF 1,M 1,PT 1624,FT 3295,RT 2392,CT 2392,ET 2446,HM 0,BO 1627,DM 0,MZ 0,DT 0,HZ 1,ST 21,F 7,HL 17,C 0,OF 0,OFO 1,RV 1,T 0,E 0,S 0,HD 0,FB 297,TS 770,HLP 77,CN 0,CF 34,LS 12,A 0,OC 0,SP 0,MA 0,MM 0,FV 0,EV 0,MP 0,MT 0,FC 0,MV 0,EC 0,PM 6,DL 0,DA 0,AM 0,HK 0,DS 0,D 0,OS 0,BT 0,VT 0,IN 0,PBT 0,PVT 0,RTB 0,ETB 0,OFS 0,HS 0,HMS 0,HMZ 0,CRT 0,VLP 0,VM 0,VL 0,STC 0,FD 0,CRC 21031,
,PF 1,M 1,PT 1644,FT 3314,RT 2392,CT 2392,ET 2446,HM 0,BO 1646,DM 0,MZ 0,DT 0,HZ 1,ST 21,F 7,HL 17,C 0,OF 0,OFO 1,RV 1,T 0,E 0,S 0,HD 0,FB 297,TS 770,HLP 77,CN 0,CF 34,LS 12,A 0,OC 0,SP 0,MA 0,MM 0,FV 0,EV 0,MP 0,MT 0,FC 0,MV 0,EC 0,PM 6,DL 0,DA 0,AM 0,HK 0,DS 0,D 0,OS 0,BT 0,VT 0,IN 0,PBT 0,PVT 0,RTB 0,ETB 0,OFS 0,HS 0,HMS 0,HMZ 0,CRT 0,VLP 0,VM 0,VL 0,STC 0,FD 0,CRC 21035,
,PF 1,M 1,PT 1663,FT 3333,RT 2392,CT 2392,ET 2446,HM 0,BO 1665,DM 0,MZ 0,DT 0,HZ 1,ST 21,F 7,HL 17,C 0,OF 0,OFO 1,RV 1,T 0,E 0,S 0,HD 0,FB 236,TS 770,HLP 77,CN 0,CF 35,LS 12,A 0,OC 0,SP 0,MA 0,MM 0,FV 0,EV 0,MP 0,MT 0,FC 0,MV 0,EC 0,PM 6,DL 0,DA 0,AM 0,HK 0,DS 0,D 0,OS 0,BT 0,VT 0,IN 0,PBT 0,PVT 0,RTB 0,ETB 0,OFS 0,HS 0,HMS 0,HMZ 0,CRT 0,VLP 0,VM 0,VL 0,STC 0,FD 0,CRC 21031,
frame example | ,PF 1,M 1,PT 1624,FT 3295,RT 2392,CT 2392,ET 2446,HM 0,BO 1627,DM 0,MZ 0,DT 0,HZ 1,ST 21,F 7,HL 17,C 0,OF 0,OFO 1,RV 1,T 0,E 0,S 0,HD 0,FB 297,TS 770,HLP 77,CN 0,CF 34,LS 12,A 0,OC 0,SP 0,MA 0,MM 0,FV 0,EV 0,MP 0,MT 0,FC 0,MV 0,EC 0,PM 6,DL 0,DA 0,AM 0,HK 0,DS 0,D 0,OS 0,BT 0,VT 0,IN 0,PBT 0,PVT 0,RTB 0,ETB 0,OFS 0,HS 0,HMS 0,HMZ 0,CRT 0,VLP 0,VM 0,VL 0,STC 0,FD 0,CRC 21031,
: For future models and not available in 12k Tornado HP model
: doublicated field in GUI user interface
: needed in 12k Tornado HP Model
: not included in current software and will be Zero in frame until be explained and added
: add new to the fram
| command | desctiption | APP DESCRIPTION | detailed descrtion | max value | value description | data type
4 | A | Monitor | Monitor ability (Version) | 12K , 18K , 24K | 2 | A=0 (12k) A=1(18k) A=2 (24k) | 1byte
5 | MM |  | Monitor Model | Monitor for AC series V01,V02,V03,…. | (use value as sent directly) | EX. MM=V01 | 3byets
6 | FV |  | Flash Version | V01,V02,V03,…. | (use value as sent directly) | EX. FV=V01 | 3byets
7 | EV |  | EEP Version | V01,V02,V03,…. | (use value as sent directly) | EX. EV=V01 | 3byets
8 | MP |  | Motor code | Select ID Fan motor used A531,A550 | still not determined
9 | MT |  | Motor Type | AC , DC in model 12k type is AC | 1 | MT=0 (AC) MT=1 (DC) | 1byte
1 | A | Operation States | Ability | 12K , 18K , 24K | 2 | A=0 (12k) A=1(18k) A=2 (24k) | 1byte
2 | OC |  | Operation cycle | HP , Cool only | 1 | OC=0 (HP) OC=1 (Cool only) | 1byte
3 | SP |  | SP measure
10 | EV |  | Model EEP
11 | FD |  | FD | Express fan in fd format not numbers | 13 | look table 5
12 | M |  | Operation Mode | Auto (Cooling) Auto (heating) | 6 | m=0 (Auto) m=1 (Heat) m=2 (Cool) m=3 (Dry) m=4 (Fan) m=5 (Clean) m=6 (Idle) | 1byte
13 | FC |  | Out Fan Control | Fan increase step
14 | MV |  | AC Model | TY-C12AEE (A/C model name) TY-C18BEE TY-C24BEE TH-C12AEE TH-C18BEE TH-C24BEE Y : Heat Pump , H : Cool only | 5 | MV=0 (TY-C12AEE) MV=1 (TY-C18BEE) MV=2 (TY-C24BEE) MV=3 (TH-C12AEE) MV=4 (TH-C18BEE) MV=5 (TH-C24BEE) | 1byte
15 | EC |  | Error Code |  | 8 | EC=0 (error free) (0-0) EC=1 (sensor open circuit) (lo) EC=2 (diplay indication hi error)(hi) EC=3 (fan stopped)(19-0) EC=4 (eva over heat cool dry) (9-0) EC=5 (delta temp pass five cool dry)(9-0) EC=6 (delta temp pass five heat)(9-0) EC=7 (sensor short circuit)(9-0) EC=8 (gas leakage)(9-4) | 1byte
16 | PM |  | Mode Memory |  | 6 | same as mode (M) | 1byte
17 | DL |  | Dehumidify (Life Mode)
18 | DA |  | Dehumidify (Auto)
19 | AM |  | Auto (Mask) | Timer used to count but not used in system
20 | PT |  | Operation Time | sec by sec | (use value as sent directly) ∞ | apdated every 20 ms(PT * 20 devide by 1000) | 4bytes
21 | PF |  | Operation state |  | (use value as sent directly) | PF=1 (on) PF=0 (off) | 1byte
22 | HK |  | Hot Keep | In heating , Hot Keep Counter (1-2-3-4-7-8-9-10-11)
23 | DS |  | Dehumidity state
24 | D |  | Dehumidity time
79 | HD |  | LCD State |  | 1 | HD=1 (on) HD=0 (off) | 1byte
25 | CT |  | LCD Temp | First two digits before decimal | (use value as sent directly) max 99
75 | BO |  | Badodor timer | sec by sec | (use value as sent directly) Max 60 | apdated every 20 ms(BO * 20 devide by 1000) | 4bytes
74 | FT |  | Filter Timer | in hours | (use value as sent directly) max 250 | apdated every 20 ms(FT * 20 devide by 1000 * 60 * 60) | 4bytes
1 | OS | Indoor setting Display | Outdoor Temp
77 | CT |  | Corrected Room temp | Four digits with decimal | (use value as sent directly) |  | 2bytes
2 | CT |  | Display Temp | First two digits before decimal | (use value as sent directly) max 99 |  | 2bytes
3 | ST |  | Setting Temperature |  | (use value as sent directly) max 28
4 | C |  | Comp state |  | 1 | C=1 (on) C=0 (off) | 1byte
5 | CN |  | Comp On time | sec by sec | (use value as sent directly) ∞ | apdated every 1s | 4bytes
6 | CF |  | Comp off (safety) | sec by sec | (use value as sent directly) ∞ | apdated every 1s | 4bytes
78 | STC |  | Safety Time counter | sec by sec |  | not implemented yet
7 | BT |  | Blow Temp
8 | VT |  | Valve Temp
9 | RT |  | Temp Now |  | (use value as sent directly)
10 | ET |  | ID Pipe Temp |  | (use value as sent directly)
11 | NI |  | Inverter / Normal | Normal |  | IN=0 (Normal) IN=1 (Inverter)
12 | PBT |  | Blow Temp (before)
13 | PVT |  | Valve Temp(before)
14 | RTB |  | Room Temp(before) | Four digits with decimal (before with one sec) | (use value as sent directly) |  | 2bytes
15 | ETB |  | ID Pipe Temp (before) | Four digits with decimal (before with one sec) | (use value as sent directly) |  | 2bytes
80 | DM |  | ID Pipe min while defrost | Four digits with decimal | (use value as sent directly) |  | 2bytes
16 | M1 |  | Main off (T1)
17 | M2 |  | Main off (T2)
41 | LS | ledLed | Power led |  |  | LS: 16bit variable (bit0:bit15) bit0(eco led) , 0 (off) / 1 (on) bit1(cool led) , 0 (off) / 1 (on) bit2(power led) , 0 (off) / 1 (on) bit3(heat led) , 0 (off) / 1 (on) bit4(timer/filter led) , 0 (off) / 1 (on) bit5(turbo led) , 0 (off) / 1 (on) bit6(sleep led) , 0 (off) / 1 (on) bit7(plasma led) , 0 (off) / 1 (on) bit8(loundry led) , 0 (off) / 1 (on) | 2bytes
42 | LS |  | Timer led
43 | LS |  | Turbo led
44 | LS |  | Plasma led
45 | LS |  | Eco led
46 | LS |  | Sleep led
47 | LS |  | filter led
48 | LS |  | cooling led
49 | LS |  | heating led
50 | LS |  | loundry led
51 | OF | Outdoor INFO | outdoor fan state |  | 1 | OF=1 (on) OF=0 (off) | 1byte
52 | OFS |  | Outdoor fan speed
53 | HS | Option Heater | heater state
54 | F | Fan | Fan Speed |  | 7 | F=2 (FAN AUTO) (A) F=3 (FAN LOW) (S) F=5 (FAN MEDIUM) (M) F=7 (FAN HIGH) (L) | 1byte
55 | FD |  | FD | Express fan in fd format not numbers | 13 | look table 5
56 | TS |  | Target speed | Express fan in Numbers format | (use value as sent directly) |  | 2bytes
| FB |  | speed feedback |  | (use value as sent directly) |  | 2bytes
| D1 |  | Fan duty
| PD |  | Phase data
| D2 |  | Fan on Delay
57 | FB |  | Fan speed
76 | DT |  | Dry fan on/off timer | sec by sec | max 180 | apdated every 20 ms(DT * 20 devide by 1000) | 4bytes
58 | RT | A/D | ID room Temp | Four digits with decimal | (use value as sent directly) |  | 2bytes
59 | ET |  | ID pipe Temp | Four digits with decimal | (use value as sent directly) |  | 2bytes
60 | HMS |  | humidity sensor
61 | MZ |  | ID room Zone |  | 12 | look table 1 | 1byte
62 | HZ |  | ID pipe zone |  | 7 | look table 2 | 1byte
63 | HMZ |  | Humidity Zone
64 | ST |  | Remocon set |  | (use value as sent directly) max 28 |  | 2bytes
65 | CRT |  | Control Temp |  | (use value as sent directly) max 3200 |  | 2bytes
66 | HL | Horizental Louver | H-L State (name) |  | 20 | look table 3 | 1byte
67 | HLP |  | H-l Current angle |  | (use value as sent directly) max 140 |  | 2bytes
69 | HM |  | H-L memory (Angle) |  | (use value as sent directly) max 140 |  | 1byte
71 | VL | Vertical Louver | V-L State (name) |  | 8 | look table 4 | 1byte
70 | VLP |  | V-l Current angle |  | (use value as sent directly) max 105 |  | 2bytes
73 | VM |  | V-L memory (Angle) |  | (use value as sent directly) max 105
| * | * | * | * | * | * | *
| table 1 |  |  |  | table 2
| M=1(heat mode) | MZ= 0 | ZONE_IDLE |  | M=1(heat mode) | HZ= 0 | ZONE_IDLE
|  | MZ= 1 | ZONE_Z |  |  | HZ= 1 | ZONE_0
|  | MZ= 2 | ZONE_A |  |  | HZ= 2 | ZONE_1
|  | MZ= 3 | ZONE_B |  |  | HZ= 3 | ZONE_2
|  | MZ= 4 | ZONE_C |  |  | HZ= 4 | ZONE_3
|  | MZ= 5 | ZONE_D |  |  | HZ= 5 | ZONE_4
|  | MZ= 6 | ZONE_E |  |  | HZ= 6 | ZONE_7
|  | MZ= 7 | ZONE_F
|  | MZ= 8 | ZONE_G
|  | MZ= 9 | ZONE_H
|  | MZ= 10 | ZONE_I
|  | MZ= 11 | ZONE_J |  | table 3 |  |  | table 4
|  | MZ= 12 | ZONE_K |  | HL=0 | CLOSE |  | VL=0 | right
[5 empty] | HL=1 | OPEN |  | VL=1 | middle
| M=2(cool mode) | MZ= 0 | ZONE_IDLE |  | HL=2 | SWING |  | VL=2 | left
|  | MZ= 4 | ZONE_C |  | HL=3 | SWING |  | VL=3 | swing
|  | MZ= 5 | ZONE_D |  | HL=4 | COMFORT |  | VL=5 | myAreaRight
|  | MZ= 6 | ZONE_E |  | HL=5 | MYAREA_UP |  | VL=6 | myAreaMiddle
|  | MZ= 7 | ZONE_F |  | HL=6 | MYAREA_DOWN |  | VL=7 | myAreaLeft
|  | MZ= 8 | ZONE_G |  | HL=7 | DEFAULT |  | VL=8 | dafault
|  | MZ= 9 | ZONE_H |  | HL=8 | TURBO
|  | MZ= 10 | ZONE_I |  | HL=9 | CLEAN
|  | MZ= 11 | ZONE_J |  | HL=10 | SWING
|  | MZ= 12 | ZONE_K |  | HL=11 | SWING
[5 empty] | HL=12 | COMFORT
| M=3(dry mode) | MZ= 0 | ZONE_IDLE |  | HL=13 | MYAREA_UP
|  | MZ= 1 | ZONE_C |  | HL=14 | MYAREA_DOWN
|  | MZ= 2 | ZONE_D |  | HL=15 | DEFAULT
|  | MZ= 3 | ZONE_E |  | HL=16 | TURBO
|  | MZ= 4 | ZONE_F |  | HL=17 | HEX_0_1
|  | MZ= 5 | ZONE_G |  | HL=18 | SWING_FIXED
|  | MZ= 6 | ZONE_H |  | HL=19 | SWING
|  | MZ= 7 | ZONE_I |  | HL=20 | IDLE
|  | MZ= 8 | ZONE_J
|  | MZ= 9 | ZONE_K
table 5
| M=1(heat mode) | FD=0 | --
|  | FD=1 | FD1
|  | FD=2 | FD2
|  | FD=3 | FD3
|  | FD=4 | FD4
|  | FD=5 | FD5
|  | FD=6 | FD6
|  | FD=7 | FD7
|  | FD=8 | FD8
|  | FD=9 | FD9
|  | FD=10 | FD10
|  | FD=11 | FD11
|  | FD=12 | FD12
|  | FD=13 | FD13
| M=2(cool mode) | FD=3 | FD3
|  | FD=4 | FD4
|  | FD=5 | FD5
|  | FD=6 | FD6
|  | FD=7 | FD7
|  | FD=8 | FD8
|  | FD=9 | FD9
| M=3(dry mode) | FD=1 | FD1
|  | FD=2 | FD2
| M=4(fan mode) | FD=3 | FD3
|  | FD=6 | FD6
|  | FD=9 | FD9

## Sheet1
System Monitor frame structure
data example
frame example | PF 0,M 6,ST 18,F 2,HL 0,C 0,OF 0,OFO 1,RV 0,T 0,E 0,S 0,HD 0,FB 0,TS 0,HLP 140,CN 0,CF 38,
| command | desctiption | APP DESCRIPTION | detailed descrtion
1 | PF | power flag | operate led
2 | 0 | PF value
3 | , | separator
4 | M | mode | mode memory |  | led1 | 1
5 | 6 | mode value |  |  | led2 | 0
6 | , | separator |  |  | led3 | 1
7 | ST | setting temperature | remoset |  | led4 | 1
8 | 18 | temp value |  |  | led5 | 1
9 | , | separator |  |  | led6 | 1
10 | F | fan mode |  |  | led7 | 1
11 | 2 | fan mode value |  |  | led8 | 1
12 | , | separator
13 | HL | Horizontal Louver |  |  | leds status | 100
14 | 0 | HL state value
15 | , | separator
16 | C | compressor
17 | 0 | compressor state
18 | , | separator
19 | OF | outdoor fan
20 | 0 | outdoor fan state
21 | , | separator
22 | OFO | outdoor fan operation
23 | 1 | outdoor fan operation value
24 | , | separator
25 | RV | reverse valve
26 | 0 | reverse valve state
27 | , | separator
28 | T | turbo
29 | 0 | turbo state
30 | , | separator
31 | E | eco |  |  |  | M=1(heat mode) | TS=720 | FD1
32 | 0 | eco state |  |  |  |  | TS=720 | FD2
33 | , | separator |  |  |  |  | TS=770 | FD3
34 | ST | sleep |  |  |  |  | TS=770 | FD4
35 | 0 | sleep state |  |  |  |  | TS=840 | FD5
36 | , | separator |  |  |  |  | TS=930 | FD6
37 | HD | hidden display |  |  |  |  | TS=930 | FD7
38 | 0 | hidden display on/off |  |  |  |  | TS=940 | FD8
39 | , | separator |  |  |  |  | TS=940 | FD9
40 | FB | fan feedback |  |  |  |  | TS=1120 | FD10
41 | 0 | fan feedback value |  |  |  |  | TS=1200 | FD11
42 | , | separator |  |  |  |  | TS=1200 | FD12
43 | TS | target speed |  |  |  |  | TS=1000 | FD13
44 | 0 | target speed value
45 | , | separator |  |  |  | M=2(cool mode) | TS=750 | FD3
46 | HLP | Horizontal Louver position |  |  |  |  | TS=800 | FD4
47 | 140 | position value |  |  |  |  | TS=850 | FD5
48 | , | separator |  |  |  |  | TS=940 | FD6
49 | CN | compressor on time |  |  |  |  | TS=1050 | FD7
50 | 0 | on time value |  |  |  |  | TS=1100 | FD8
51 | , | separator |  |  |  |  | TS=1150 | FD9
52 | CF | compressor off time
53 | 38 | off time value
54 | , | separator
[6 empty] | M=3(dry mode) | TS=750 | FD1
[7 empty] | TS=800 | FD2
[6 empty] | M=4(fan mode) | TS=750 | FD3
[7 empty] | TS=940 | FD6
[7 empty] | TS=1150 | FD9